## DESERVE data survey
Measured variable | [unit] | Instrument | Location [lat, long] | Beginn of time series [dd/mm/yyyy] | End of time series [dd/mm/yyyy] | Contact [Email]
Ein Gedi Spa
temperature (2m) | [°C] | HygroClip | 31.4166, 35.3815 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
relative humidity (2m) | [%] | HygroClip | 31.4166, 35.3815 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
3D wind speed (6m) | [ms-1] | Irgason | 31.4166, 35.3815 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
wind direction (6m) | [°] | Irgason | 31.4166, 35.3815 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
CO2 (6m) | [mgm-3] | Irgason | 31.4166, 35.3815 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
H2O (6m) | [gm-3] | Irgason | 31.4166, 35.3815 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
pressure | [hPa] | digital barometer | 31.4166, 35.3815 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
precipitation | [mm] | tipping bucket raingauge | 31.4166, 35.3815 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
shortwave radiation (upward and downward) | [Wm-2] | pyranometer | 31.4166, 35.3815 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
longwave radiation (upward and downward) | [Wm-2] | pyrgeometer | 31.4166, 35.3815 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
soil temperature (2cm, 6cm) | [°C] | Campbell TCAV Probe | 31.4166, 35.3815 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
soil heat flux | [Wm-2] | heat flux plates | 31.4166, 35.3815 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
soil moisture (volumetric water content) | [%] | Campbell CS616 Water Content Reflectometers | 31.4166, 35.3815 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
Ein Gedi Beach
temperature (2m) | [°C] | HygroClip | 31.4258, 35.3949 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
relative humidity (2m) | [%] | HygroClip | 31.4258, 35.3949 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
3D wind speed (6m) | [ms-1] | Irgason | 31.4258, 35.3949 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
wind direction (6m) | [°] | Irgason | 31.4258, 35.3949 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
CO2 (6m) | [mgm-3] | Irgason | 31.4258, 35.3949 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
H2O (6m) | [gm-3] | Irgason | 31.4258, 35.3949 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
pressure | [hPa] | digital barometer | 31.4258, 35.3949 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
precipitation | [mm] | tipping bucket raingauge | 31.4258, 35.3949 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
shortwave radiation (upward and downward) | [Wm-2] | pyranometer | 31.4258, 35.3949 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
longwave radiation (upward and downward) | [Wm-2] | pyrgeometer | 31.4258, 35.3949 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
soil temperature (2cm, 6cm) | [°C] | Campbell TCAV Probe | 31.4258, 35.3949 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
soil heat flux | [Wm-2] | heat flux plates | 31.4258, 35.3949 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
soil moisture (volumetric water content) | [%] | Campbell CS616 Water Content Reflectometers | 31.4258, 35.3949 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
Kane Mekorot
temperature (2m) | [°C] | HygroClip | 31.621035, 35.412055 | 2014-03-01 | 2015-02-03 | Manuela Nied [manuela.nied@kit.edu]
relative humidity (2m) | [%] | HygroClip | 31.621035, 35.412055 | 2014-03-01 | 2015-02-03 | Manuela Nied [manuela.nied@kit.edu]
3D wind speed (6m) | [ms-1] | Irgason | 31.621035, 35.412055 | 2014-03-01 | 2015-02-03 | Manuela Nied [manuela.nied@kit.edu]
wind direction (6m) | [°] | Irgason | 31.621035, 35.412055 | 2014-03-01 | 2015-02-03 | Manuela Nied [manuela.nied@kit.edu]
CO2 (6m) | [mgm-3] | Irgason | 31.621035, 35.412055 | 2014-03-01 | 2015-02-03 | Manuela Nied [manuela.nied@kit.edu]
H2O (6m) | [gm-3] | Irgason | 31.621035, 35.412055 | 2014-03-01 | 2015-02-03 | Manuela Nied [manuela.nied@kit.edu]
pressure | [hPa] | digital barometer | 31.621035, 35.412055 | 2014-03-01 | 2015-02-03 | Manuela Nied [manuela.nied@kit.edu]
precipitation | [mm] | tipping bucket raingauge | 31.621035, 35.412055 | 2014-03-01 | 2015-02-03 | Manuela Nied [manuela.nied@kit.edu]
shortwave radiation (upward and downward) | [Wm-2] | pyranometer | 31.621035, 35.412055 | 2014-03-01 | 2015-02-03 | Manuela Nied [manuela.nied@kit.edu]
longwave radiation (upward and downward) | [Wm-2] | pyrgeometer | 31.621035, 35.412055 | 2014-03-01 | 2015-02-03 | Manuela Nied [manuela.nied@kit.edu]
soil temperature (2cm, 6cm) | [°C] | Campbell TCAV Probe | 31.621035, 35.412055 | 2014-03-01 | 2015-02-03 | Manuela Nied [manuela.nied@kit.edu]
soil heat flux | [Wm-2] | heat flux plates | 31.621035, 35.412055 | 2014-03-01 | 2015-02-03 | Manuela Nied [manuela.nied@kit.edu]
soil moisture (volumetric water content) | [%] | Campbell CS616 Water Content Reflectometers | 31.621035, 35.412055 | 2014-03-01 | 2015-02-03 | Manuela Nied [manuela.nied@kit.edu]
En Boqeq
temperature (2m) | [°C] | HygroClip | 31.2, 35.38333 | 2015-10-22 | open | Manuela Nied [manuela.nied@kit.edu]
relative humidity (2m) | [%] | HygroClip | 31.2, 35.38333 | 2015-10-22 | open | Manuela Nied [manuela.nied@kit.edu]
3D wind speed (6m) | [ms-1] | Irgason | 31.2, 35.38333 | 2015-10-22 | open | Manuela Nied [manuela.nied@kit.edu]
wind direction (6m) | [°] | Irgason | 31.2, 35.38333 | 2015-10-22 | open | Manuela Nied [manuela.nied@kit.edu]
CO2 (6m) | [mgm-3] | Irgason | 31.2, 35.38333 | 2015-10-22 | open | Manuela Nied [manuela.nied@kit.edu]
H2O (6m) | [gm-3] | Irgason | 31.2, 35.38333 | 2015-10-22 | open | Manuela Nied [manuela.nied@kit.edu]
pressure | [hPa] | digital barometer | 31.2, 35.38333 | 2015-10-22 | open | Manuela Nied [manuela.nied@kit.edu]
precipitation | [mm] | tipping bucket raingauge | 31.2, 35.38333 | 2015-10-22 | open | Manuela Nied [manuela.nied@kit.edu]
shortwave radiation (upward and downward) | [Wm-2] | pyranometer | 31.2, 35.38333 | 2015-10-22 | open | Manuela Nied [manuela.nied@kit.edu]
longwave radiation (upward and downward) | [Wm-2] | pyrgeometer | 31.2, 35.38333 | 2015-10-22 | open | Manuela Nied [manuela.nied@kit.edu]
Panoramic Complex
temperature (2m) | [°C] | HygroClip | 31.63028, 35.58616 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
relative humidity (2m) | [%] | HygroClip | 31.63028, 35.58616 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
3D wind speed (10m) | [ms-1] | ultrasonic anemometer | 31.63028, 35.58616 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
wind direction (10m) | [°] | ultrasonic anemometer | 31.63028, 35.58616 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
pressure | [hPa] | digital barometer | 31.63028, 35.58616 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
precipitation | [mm] | tipping bucket raingauge | 31.63028, 35.58616 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
shortwave radiation (upward and downward) | [Wm-2] | pyranometer | 31.63028, 35.58616 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
longwave radiation (upward and downward) | [Wm-2] | pyrgeometer | 31.63028, 35.58616 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
soil temperature (2cm, 6cm) | [°C] | Campbell TCAV Probe | 31.63028, 35.58616 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
soil heat flux | [Wm-2] | heat flux plates | 31.63028, 35.58616 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
soil moisture (volumetric water content) | [%] | Campbell CS616 Water Content Reflectometers | 31.63028, 35.58616 | 2014-03-01 | open | Manuela Nied [manuela.nied@kit.edu]
Uja
temperature (2m) | [°C] | HygroClip | 31.952783, 35.463844 | 2014-11-12 | open | Manuela Nied [manuela.nied@kit.edu]
relative humidity (2m) | [%] | HygroClip | 31.952783, 35.463844 | 2014-11-12 | open | Manuela Nied [manuela.nied@kit.edu]
3D wind speed (10m) | [ms-1] | ultrasonic anemometer | 31.952783, 35.463844 | 2014-11-12 | open | Manuela Nied [manuela.nied@kit.edu]
wind direction (10m) | [°] | ultrasonic anemometer | 31.952783, 35.463844 | 2014-11-12 | open | Manuela Nied [manuela.nied@kit.edu]
pressure | [hPa] | digital barometer | 31.952783, 35.463844 | 2014-11-12 | open | Manuela Nied [manuela.nied@kit.edu]
precipitation | [mm] | tipping bucket raingauge | 31.952783, 35.463844 | 2014-11-12 | open | Manuela Nied [manuela.nied@kit.edu]
shortwave radiation (upward and downward) | [Wm-2] | pyranometer | 31.952783, 35.463844 | 2014-11-12 | open | Manuela Nied [manuela.nied@kit.edu]
longwave radiation (upward and downward) | [Wm-2] | pyrgeometer | 31.952783, 35.463844 | 2014-11-12 | open | Manuela Nied [manuela.nied@kit.edu]
soil temperature (2cm, 6cm) | [°C] | Campbell TCAV Probe | 31.952783, 35.463844 | 2014-11-12 | open | Manuela Nied [manuela.nied@kit.edu]
soil heat flux | [Wm-2] | heat flux plates | 31.952783, 35.463844 | 2014-11-12 | open | Manuela Nied [manuela.nied@kit.edu]
soil moisture (volumetric water content) | [%] | Campbell CS616 Water Content Reflectometers | 31.952783, 35.463844 | 2014-11-12 | open | Manuela Nied [manuela.nied@kit.edu]
Masada
temperature (2m and 9m) | [°C] | HMP35 temperature and humidity probe | 31.169444, 35.347972 | 2006-10-08 | open | Manuela Nied [manuela.nied@kit.edu]
relative humidity (2m and 9m) | [%] | HMP35 temperature and humidity probe | 31.169444, 35.347972 | 2006-10-08 | open | Manuela Nied [manuela.nied@kit.edu]
3D wind speed (9m) | [ms-1] | Gill propeller anemometer | 31.169444, 35.347972 | 2006-10-08 | open | Manuela Nied [manuela.nied@kit.edu]
wind direction (9m) | [°] | Gill propeller anemometer | 31.169444, 35.347972 | 2006-10-08 | open | Manuela Nied [manuela.nied@kit.edu]
pressure | [hPa] | barometer | 31.169444, 35.347972 | 2006-10-08 | open | Manuela Nied [manuela.nied@kit.edu]
shortwave radiation (upward and downward) | [Wm-2] | albedometer | 31.169444, 35.347972 | 2006-10-08 | open | Manuela Nied [manuela.nied@kit.edu]
total radiation | [Wm-2] | net radiometer | 31.169444, 35.347972 | 2006-10-08 | open | Manuela Nied [manuela.nied@kit.edu]
soil heat flux | [Wm-2] | RIMCO HP3 flux plate | 31.169444, 35.347972 | 2006-10-08 | open | Manuela Nied [manuela.nied@kit.edu]
soil surface temperature | [°C] | KT 15 infrared radiation pyrometer | 31.169444, 35.347972 | 2006-10-08 | open | Manuela Nied [manuela.nied@kit.edu]
precipitation | [mm] | Hellmann raingauge | 31.169444, 35.347972 | 2006-10-08 | open | Manuela Nied [manuela.nied@kit.edu]
P88
3D wind speed (3,5m) | [m/s] | Gill propeller anemometer | 31.32893, 35.400910 | 2008-11-12 | 2014-12-26 | Manuela Nied [manuela.nied@kit.edu]
wind direction (3,5m) | [°] | Gill propeller anemometer | 31.32893, 35.400910 | 2008-11-12 | 2014-12-26 | Manuela Nied [manuela.nied@kit.edu]
temperature (2m and 0,5m) | [°C] | HMP35 temperature and humidity probe | 31.32893, 35.400910 | 2008-11-12 | 2014-12-26 | Manuela Nied [manuela.nied@kit.edu]
relative humidity (2m and 0,5m) | [%] | HMP35 temperature and humidity probe | 31.32893, 35.400910 | 2008-11-12 | 2014-12-26 | Manuela Nied [manuela.nied@kit.edu]
total radiation | [Wm-2] | net radiometer | 31.32893, 35.400910 | 2008-11-12 | 2014-12-26 | Manuela Nied [manuela.nied@kit.edu]
shortwave radiation (upward and downward) | [Wm-2] | albedometer | 31.32893, 35.400910 | 2008-11-12 | 2014-12-26 | Manuela Nied [manuela.nied@kit.edu]
pressure | [hPa] | barometer | 31.32893, 35.400910 | 2008-11-12 | 2014-12-26 | Manuela Nied [manuela.nied@kit.edu]
soil heat flux | [Wm-2] | RIMCO HP3 flux plate | 31.32893, 35.400910 | 2008-11-12 | 2014-12-26 | Manuela Nied [manuela.nied@kit.edu]
precipitation | [mm] | Hellmann raingauge | 31.32893, 35.400910 | 2008-11-12 | 2014-12-26 | Manuela Nied [manuela.nied@kit.edu]
soil surface temperature | [°C] | KT 15 sensor | 31.32893, 35.400910 | 2008-11-12 | 2014-12-26 | Manuela Nied [manuela.nied@kit.edu]
Al Mazraa (radiosoundings)
temperature profile | [°C] | thermistor | 31.274476, 35.541300 | 08.08.14 11.11.14 | 31.08.14 07.12.14 | Manuela Nied [manuela.nied@kit.edu]
dewpoint profile | [°C] | derived data | 31.274476, 35.541300 | 08.08.14 11.11.14 | 31.08.14 07.12.14 | Manuela Nied [manuela.nied@kit.edu]
pressure profile | [hPa] | GPS | 31.274476, 35.541300 | 08.08.14 11.11.14 | 31.08.14 07.12.14 | Manuela Nied [manuela.nied@kit.edu]
relative humidity profile | [%] | capacitive humidity sensor | 31.274476, 35.541300 | 08.08.14 11.11.14 | 31.08.14 07.12.14 | Manuela Nied [manuela.nied@kit.edu]
wind speed profile | [ms-1] | GPS | 31.274476, 35.541300 | 08.08.14 11.11.14 | 31.08.14 07.12.14 | Manuela Nied [manuela.nied@kit.edu]
wind direction profile | [°] | GPS | 31.274476, 35.541300 | 08.08.14 11.11.14 | 31.08.14 07.12.14 | Manuela Nied [manuela.nied@kit.edu]
virtual temperature profile | [°C] | derived data | 31.274476, 35.541300 | 08.08.14 11.11.14 | 31.08.14 07.12.14 | Manuela Nied [manuela.nied@kit.edu]
air density | [kgm-3] | derived data | 31.274476, 35.541300 | 08.08.14 11.11.14 | 31.08.14 07.12.14 | Manuela Nied [manuela.nied@kit.edu]
Al Mazraa (energy balance station)
pressure | [hPa] | barometer | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
soil surface temperature | [°C] | KT 15 infrared radiation pyrometer | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
air temperature (3m) | [°C] | HMP35 temperature and humidity probe | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
absolute humidity (4m) | [gm-3] | Licor | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
CO2 concentration | [mgm-3] | Licor | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
precipitation | [mmm-2] | raingauge | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
longwave radiation | [Wm-2] | pyrgeometer | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
shortwave radiation | [Wm-2] | pyranometer | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
global radiation | [Wm-2] | net radiometer | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
reflected irradiance | [Wm-2] | pyranometer | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
soil heat flux | [Wm-2] | heat flux plates | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
soil moisture (5cm, 20cm) | [Vol %] | SMT 100 soil moisture sensor | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
soil temperature (5cm, 20cm, 50cm) | [°C] | SMT 100 soil temperature sensor | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
wind speed (u, v, w) | [ms-1] | Gill sonic anemometer | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
virtual temperature | [°C] | Gill sonic anemometer | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
air density | [kgm-3] | derived data | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
specific humidity | [gkg-1] | derived data | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
water vapour pressure | [hPa] | derived data | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
CO2 flux | [mgm-2s-1] | derived data | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
kinematic moisture flux | [gm-2s-1] | derived data | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
kinematic heat flux | [Kms-1] | derived data | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
sensible heat flux | [Wm-2] | derived data | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
latent heat flux | [Wm-2] | derived data | 31.274476, 35.541300 | 04.08.14 25.08.14 01.10.14 | 14.08.14 28.08.14 23.10.14 | Manuela Nied [manuela.nied@kit.edu]
Masada (radiosoundings)
temperature profile | [°C] | thermistor | 31.317650, 35.372502 | 08.08.14 11.11.14 | 31.08.14 07.12.14 | Manuela Nied [manuela.nied@kit.edu]
dewpoint profile | [°C] | derived data | 31.317650, 35.372502 | 08.08.14 11.11.14 | 31.08.14 07.12.14 | Manuela Nied [manuela.nied@kit.edu]
pressure profile | [hPa] | GPS | 31.317650, 35.372502 | 08.08.14 11.11.14 | 31.08.14 07.12.14 | Manuela Nied [manuela.nied@kit.edu]
relative humidity profile | [%] | capacitive humidity sensor | 31.317650, 35.372502 | 08.08.14 11.11.14 | 31.08.14 07.12.14 | Manuela Nied [manuela.nied@kit.edu]
wind speed profile | [ms-1] | GPS | 31.317650, 35.372502 | 08.08.14 11.11.14 | 31.08.14 07.12.14 | Manuela Nied [manuela.nied@kit.edu]
wind direction profile | [°] | GPS | 31.317650, 35.372502 | 08.08.14 11.11.14 | 31.08.14 07.12.14 | Manuela Nied [manuela.nied@kit.edu]
virtual temperature profile | [°C] | derived data | 31.317650, 35.372502 | 08.08.14 11.11.14 | 31.08.14 07.12.14 | Manuela Nied [manuela.nied@kit.edu]
air density | [kgm-3] | derived data | 31.317650, 35.372502 | 08.08.14 11.11.14 | 31.08.14 07.12.14 | Manuela Nied [manuela.nied@kit.edu]
Masada (KITcube)
pressure | [hPa] | barometer | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
soil surface temperature | [°C] | KT 15 infrared radiation pyrometer | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
air temperature (3m) | [°C] | HMP35 temperature and humidity probe | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
absolute humidity (4m) | [gm-3] | Licor | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
CO2 concentration | [mgm-3] | Licor | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
precipitation | [mmm-2] | raingauge | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
longwave radiation | [Wm-2] | pyrgeometer | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
shortwave radiation | [Wm-2] | pyranometer | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
global radiation | [Wm-2] | net radiometer | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
reflected irradiance | [Wm-2] | pyranometer | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
soil heat flux | [Wm-2] | heat flux plates | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
soil moisture (10 cm, 30cm, 50cm) | [Vol %] | SMT 100 soil moisture sensor | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
soil temperature (10 cm, 30cm, 50cm) | [°C] | SMT 100 soil temperature sensor | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
wind speed (u, v, w) | [ms-1] | Gill sonic anemometer | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
virtual temperature | [°C] | Gill sonic anemometer | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
air density | [kgm-3] | derived data | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
water vapour pressure | [hPa] | derived data | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
carbon dioxide flux | [mgm-2s-1] | derived data | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
kinematic moisture flux | [gm-2s-1] | derived data | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
kinematic heat flux | [Kms-1] | derived data | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
sensible heat flux | [Wm-2] | derived data | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
latent heat flux | [Wm-2] | derived data | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
integrated water vapour | [mm] | GPS | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
radar reflectivity Z | [dBZ] | cloud radar | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
radial velocity | [ms-1] | cloud radar | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
particle concentration | [cm-3] | GRIMM particle counter | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
wind speed profile | [ms-1] | sodar | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
wind direction profile | [°] | sodar | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
temperature profile | [K] | HATPRO | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
integrated water vapour | [kgm-2] | HATPRO | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
liquid water path | [gm-2] | HATPRO | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
relative humidity profile | [%] | HATPRO | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
cloud base height | [m] | ceilometer | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
rain intensity | [mmh-1] | disdrometer | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
accumulated rain | [mm] | disdrometer | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
mean drop velocity | [ms-1] | disdrometer | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
drop number per size and time | [s-1] | disdrometer | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
optical depth | - | sun photometer | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
precipitation | [mm] | raingauge | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
radar reflectivity Z | [dBZ] | micro rain radar | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
rain intensity | [mmh-1] | micro rain radar | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
liquid water content | [mm3m-3] | micro rain radar | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
total number of drops | [m-3] | micro rain radar | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
horizontal wind speed | [ms-1] | wind cube | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
upward air velocity | [ms-1] | wind cube | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
variance of horizontal wind speed | [ms-1] | wind cube | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
variance of upward air velocity | [ms-1] | wind cube | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
horizontal wind speed | [ms-1] | lidar | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
radial velocity of scatterers away from instrument | [ms-1] | lidar | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
upward air velocity | [ms-1] | lidar | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
wind direction | [°] | lidar | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
ratio of signal to noise | [dB] | lidar | 31.317650, 35.372502 | 2014-08-04 | 2014-12-07 | Manuela Nied [manuela.nied@kit.edu]
Shoubak (weather friendship)
temperature | [°C] | HMP temperature and humidity probe | 30.494564, 35.52543 | 2015-06-01 | open | Manuela Nied [manuela.nied@kit.edu]
relative humidity | [%] | HMP temperature and humidity probe | 30.494564, 35.52543 | 2015-06-01 | open | Manuela Nied [manuela.nied@kit.edu]
dew point | [°C] | derived data | 30.494564, 35.52543 | 2015-06-01 | open | Manuela Nied [manuela.nied@kit.edu]
wind direction | [°] | wind vane | 30.494564, 35.52543 | 2015-06-01 | open | Manuela Nied [manuela.nied@kit.edu]
wind speed | [ms-1] | anemometer | 30.494564, 35.52543 | 2015-06-01 | open | Manuela Nied [manuela.nied@kit.edu]
precipitation | [mm] | raingauge | 30.494564, 35.52543 | 2015-06-01 | open | Manuela Nied [manuela.nied@kit.edu]
solar radiation | [Wm-2] | pyrheliometer | 30.494564, 35.52543 | 2015-06-01 | open | Manuela Nied [manuela.nied@kit.edu]
Shunja (weather friendship)
temperature | [°C] | HMP temperature and humidity probe | 31.89934, 35.62301 | 15.05.15 23.11.15 | 31.05.15 open | Manuela Nied [manuela.nied@kit.edu]
pressure | [hPa] | barometer | 31.89934, 35.62301 | 15.05.15 23.11.15 | 31.05.15 open | Manuela Nied [manuela.nied@kit.edu]
relative humidity | [%] | HMP temperature and humidity probe | 31.89934, 35.62301 | 15.05.15 23.11.15 | 31.05.15 open | Manuela Nied [manuela.nied@kit.edu]
dew point | [°C] | derived data | 31.89934, 35.62301 | 15.05.15 23.11.15 | 31.05.15 open | Manuela Nied [manuela.nied@kit.edu]
wind direction | [°] | wind vane | 31.89934, 35.62301 | 15.05.15 23.11.15 | 31.05.15 open | Manuela Nied [manuela.nied@kit.edu]
wind speed | [ms-1] | anemometer | 31.89934, 35.62301 | 15.05.15 23.11.15 | 31.05.15 open | Manuela Nied [manuela.nied@kit.edu]
precipitation | [mm] | raingauge | 31.89934, 35.62301 | 15.05.15 23.11.15 | 31.05.15 open | Manuela Nied [manuela.nied@kit.edu]
solar radiation | [Wm-2] | pyrheliometer | 31.89934, 35.62301 | 15.05.15 23.11.15 | 31.05.15 open | Manuela Nied [manuela.nied@kit.edu]
Nablus (weather friendship)
temperature | [°C] | HMP temperature and humidity probe | 32.2315, 35.2523 | 2015-03-17 | open | Manuela Nied [manuela.nied@kit.edu]
pressure | [hPa] | barometer | 32.2315, 35.2523 | 2015-03-17 | open | Manuela Nied [manuela.nied@kit.edu]
relative humidity | [%] | HMP temperature and humidity probe | 32.2315, 35.2523 | 2015-03-17 | open | Manuela Nied [manuela.nied@kit.edu]
dew point | [°C] | derived data | 32.2315, 35.2523 | 2015-03-17 | open | Manuela Nied [manuela.nied@kit.edu]
wind direction | [°] | wind vane | 32.2315, 35.2523 | 2015-03-17 | open | Manuela Nied [manuela.nied@kit.edu]
wind speed | [ms-1] | anemometer | 32.2315, 35.2523 | 2015-03-17 | open | Manuela Nied [manuela.nied@kit.edu]
precipitation | [mm] | raingauge | 32.2315, 35.2523 | 2015-03-17 | open | Manuela Nied [manuela.nied@kit.edu]
solar radiation | [Wm-2] | pyrheliometer | 32.2315, 35.2523 | 2015-03-17 | open | Manuela Nied [manuela.nied@kit.edu]
Beit Jala (weather friendship)
temperature | [°C] | HMP temperature and humidity probe | 31.70982, 35.17658 | 2015-03-14 | open | Manuela Nied [manuela.nied@kit.edu]
pressure | [hPa] | barometer | 31.70982, 35.17658 | 2015-03-14 | open | Manuela Nied [manuela.nied@kit.edu]
relative humidity | [%] | HMP temperature and humidity probe | 31.70982, 35.17658 | 2015-03-14 | open | Manuela Nied [manuela.nied@kit.edu]
dew point | [°C] | derived data | 31.70982, 35.17658 | 2015-03-14 | open | Manuela Nied [manuela.nied@kit.edu]
wind direction | [°] | wind vane | 31.70982, 35.17658 | 2015-03-14 | open | Manuela Nied [manuela.nied@kit.edu]
wind speed | [ms-1] | anemometer | 31.70982, 35.17658 | 2015-03-14 | open | Manuela Nied [manuela.nied@kit.edu]
precipitation | [mm] | raingauge | 31.70982, 35.17658 | 2015-03-14 | open | Manuela Nied [manuela.nied@kit.edu]
solar radiation | [Wm-2] | pyrheliometer | 31.70982, 35.17658 | 2015-03-14 | open | Manuela Nied [manuela.nied@kit.edu]
Arad (weather friendship)
temperature | [°C] | HMP temperature and humidity probe | 31.25583, 35.20666 | 2014-12-07 | open | Manuela Nied [manuela.nied@kit.edu]
pressure | [hPa] | barometer | 31.25583, 35.20666 | 2014-12-07 | open | Manuela Nied [manuela.nied@kit.edu]
relative humidity | [%] | HMP temperature and humidity probe | 31.25583, 35.20666 | 2014-12-07 | open | Manuela Nied [manuela.nied@kit.edu]
dew point | [°C] | derived data | 31.25583, 35.20666 | 2014-12-07 | open | Manuela Nied [manuela.nied@kit.edu]
wind direction | [°] | wind vane | 31.25583, 35.20666 | 2014-12-07 | open | Manuela Nied [manuela.nied@kit.edu]
wind speed | [ms-1] | anemometer | 31.25583, 35.20666 | 2014-12-07 | open | Manuela Nied [manuela.nied@kit.edu]
precipitation | [mm] | raingauge | 31.25583, 35.20666 | 2014-12-07 | open | Manuela Nied [manuela.nied@kit.edu]
solar radiation | [Wm-2] | pyrheliometer | 31.25583, 35.20666 | 2015-03-20 | open | Manuela Nied [manuela.nied@kit.edu]
Ein Gedi (weather friendship)
temperature | [°C] | HMP temperature and humidity probe | 31.4533, 35.3863 | 2014-12-07 | open | Manuela Nied [manuela.nied@kit.edu]
pressure | [hPa] | barometer | 31.4533, 35.3863 | 2014-12-07 | open | Manuela Nied [manuela.nied@kit.edu]
relative humidity | [%] | HMP temperature and humidity probe | 31.4533, 35.3863 | 2014-12-07 | open | Manuela Nied [manuela.nied@kit.edu]
dew point | [°C] | derived data | 31.4533, 35.3863 | 2014-12-07 | open | Manuela Nied [manuela.nied@kit.edu]
wind direction | [°] | wind vane | 31.4533, 35.3863 | 2014-12-07 | open | Manuela Nied [manuela.nied@kit.edu]
wind speed | [ms-1] | anemometer | 31.4533, 35.3863 | 2014-12-07 | open | Manuela Nied [manuela.nied@kit.edu]
precipitation | [mm] | raingauge | 31.4533, 35.3863 | 2014-12-07 | open | Manuela Nied [manuela.nied@kit.edu]
solar radiation | [Wm-2] | pyrheliometer | 31.4533, 35.3863 | 2015-03-20 | open | Manuela Nied [manuela.nied@kit.edu]
Rain network
Arad rain | [cm] | tilting bucket rain recorder | 31.267991, 35.210190 | 2014-01-05 | open | Jonathan Laronne [john@bgu.ac.il]
Arugot rain | [mm] | tilting bucket rain recorder | 31.459959, 35.395991 | 2015-02-09 | open | Jonathan Laronne [john@bgu.ac.il]
Carmel rain | [cm] | tilting bucket rain recorder | 31.431517, 35.183935 | 2013-11-19 | open | Jonathan Laronne [john@bgu.ac.il]
Dekaika rain | [cm] | tilting bucket rain recorder | 31.382825, 35.225071 | 2015-01-27 | open | Jonathan Laronne [john@bgu.ac.il]
Hanokdim rain | [cm] | tilting bucket rain recorder | 31.304851, 35.268827 | 2013-10-29 | open | Jonathan Laronne [john@bgu.ac.il]
Har Hamasa rain | [cm] | tilting bucket rain recorder | 31.343044, 35.102332 | 2015-10-25 | open | Jonathan Laronne [john@bgu.ac.il]
Hatrurim rain | [cm] | tilting bucket rain recorder | 31.219090, 35.248996 | 2015-09-07 | open | Jonathan Laronne [john@bgu.ac.il]
Rahaf Menachem rain | [cm] | tilting bucket rain recorder | 31.278220, 35.275225 | 2015-04-27 | open | Jonathan Laronne [john@bgu.ac.il]
Rahaf rain | [mm] | tilting bucket rain recorder | 31.295901, 35.374698 | 2015-01-04 | open | Jonathan Laronne [john@bgu.ac.il]
Rujum Anaka rain | [cm] | tilting bucket rain recorder | 31.512412, 35.312782 | 2015-01-28 | open | Jonathan Laronne [john@bgu.ac.il]
Tamrur Cliff rain | [cm] | tilting bucket rain recorder | 31.170721, 35.334854 | 2015-01-26 | open | Jonathan Laronne [john@bgu.ac.il]
Zman Bamidbar TB4 rain | [cm] | tilting bucket rain recorder | 31.280885, 35.241682 | 2015-10-20 | open | Jonathan Laronne [john@bgu.ac.il]
Zman Bamidbar TB6 rain | [cm] | tilting bucket rain recorder | 31.280885, 35.241682 | 2015-07-15 | open | Jonathan Laronne [john@bgu.ac.il]
Al Arub Rashida rain | [mm] | tilting bucket rain recorder | 31.574170, 35.231450 | 2015-12-09 | open | Hanna Hennig [hanna.hennig@ufz.de]
Bani Naim Well 2 rain | [mm] | tilting bucket rain recorder | 31.514040, 35.205470 | 2015-12-08 | open | Hanna Hennig [hanna.hennig@ufz.de]
Hazezon rain | [mm] | tilting bucket rain recorder | 31.556310, 35.314150 | 2015-12-10 | open | Hanna Hennig [hanna.hennig@ufz.de]
Bani Naim rain | [mm] | tilting bucket rain recorder | 31.506760, 35.173340 | 2014-11-12 | open | Tino Rödiger [tino.roediger@ufz.de]
Al Aroub Agri School rain | [mm] | tilting bucket rain recorder | 31.624300, 35.126870 | 2012-07-08 | open | Tino Rödiger [tino.roediger@ufz.de]
PWA 11 rain | [mm] | tilting bucket rain recorder | 31.638960, 35.201480 | 2015-12-10 | open | Hanna Hennig [hanna.hennig@ufz.de]
Halhul, Water Reservoir rain | [mm] | tilting bucket rain recorder | 31.571690, 35.116490 | 2015-12-10 | open | Hanna Hennig [hanna.hennig@ufz.de]
Saer Pumping Station rain | [mm] | tilting bucket rain recorder | 31.589460, 35.155400 | 2015-12-14 | open | Hanna Hennig [hanna.hennig@ufz.de]
Microwave Links
Microwave signal attenuation | [dB] | Cell. Tower L5061, L5060 | 31.2, 35.2 | 2014-07-05 | open | Adam Eshel [adameshel@mail.tau.ac.il]
Microwave signal attenuation | [dB] | Cell. Tower L5061, L5077 | 31.3, 35.1 | 2014-07-05 | open | Adam Eshel [adameshel@mail.tau.ac.il]
Microwave signal attenuation | [dB] | Cell. Tower L5077 | 31.4, 35.0 | 2014-07-05 | open | Adam Eshel [adameshel@mail.tau.ac.il]
Microwave signal attenuation | [dB] | Cell. Tower L5060 | 31.0, 35.2 | 2014-07-05 | open | Adam Eshel [adameshel@mail.tau.ac.il]
Microwave signal attenuation | [dB] | Cell. Tower L334 | 31.7, 35.1 | 2014-07-05 | open | Adam Eshel [adameshel@mail.tau.ac.il]
Microwave signal attenuation | [dB] | Cell. Tower L334 | 31.6, 35.2 | 2014-07-05 | open | Adam Eshel [adameshel@mail.tau.ac.il]
Soil moisture (cosmic ray)
Al Aroub Agri School soil moisture |  | cosmic ray | 31.624300, 35.126870 | 2015-12-09 | open | Tino Rödiger [tino.roediger@ufz.de]
Bani Naim Well 2 soil moisture |  | cosmic ray | 31.514040, 35.205470 | 2015-12-08 | open | Tino Rödiger [tino.roediger@ufz.de]
Wadi Arugot
Arugot water stage | [cm] | vented pressure transducer | 31.459959, 35.395991 | 2015-02-09 | open | Jonathan Laronne [john@bgu.ac.il]
Arugot turbidity | [mg/L] | backscatter turbidometer | 31.459959, 35.395991 | 2015-02-09 | open | Jonathan Laronne [john@bgu.ac.il]
Arugot EC | [mS/cm] | conductivity sensor | 31.459959, 35.395991 | 2015-02-09 | open | Jonathan Laronne [john@bgu.ac.il]
Arugot temperature | [ °C] | thermometer | 31.459959, 35.395991 | 2015-02-09 | open | Jonathan Laronne [john@bgu.ac.il]
Arugot water chemistry | [var] | automatic water sampler | 31.459959, 35.395991 | 2015-02-09 | open | Christian Siebert [christian.siebert@ufz.de]
Arugot Tributary A water stage | [cm] | pressure transducer | 31.542920, 35.228870 | 2015-12-06 | open | Hanna Hennig [hanna.hennig@ufz.de]
Arugot Tributary B water stage | [cm] | pressure transducer | 31.542520, 35.230540 | 2015-12-06 | open | Hanna Hennig [hanna.hennig@ufz.de]
Arugot Tributary D water stage | [cm] | pressure transducer | 31.531360, 35.244960 | 2015-12-06 | open | Hanna Hennig [hanna.hennig@ufz.de]
Wadi Ze'elim
Ze'elim water stage | [cm] | pressure transducer | 31.352178, 35.350363 | 2011-06-21 | open | Jonathan Laronne [john@bgu.ac.il]
Ze'elim turbidity | [mg/L] | backscatter turbidometer | 31.352178, 35.350363 | 2011-06-21 | open | Jonathan Laronne [john@bgu.ac.il]
Ze'elim EC | [mS/cm] | conductivity sensor | 31.352178, 35.350363 | 2011-06-21 | open | Jonathan Laronne [john@bgu.ac.il]
Ze'elim temperature | [ °C] | thermometer | 31.352178, 35.350363 | 2011-06-21 | open | Jonathan Laronne [john@bgu.ac.il]
Ze'elim water chemistry | [var] | automatic water sampler | 31.352178, 35.350363 | 2011-06-21 | open | Christian Siebert [christian.siebert@ufz.de]
Zeelim tributary baro | [mb] | absolute pressure transducer | 31.365912, 35.315818 | 2015-02-23 | open | Jonathan Laronne [john@bgu.ac.il]
Upper Zeelim trib water stage | [cm] | absolute pressure transducer | 31.337670, 35.284746 | 2015-02-23 | open | Jonathan Laronne [john@bgu.ac.il]
Shafan tributary water stage | [cm] | absolute pressure transducer | 31.339288, 35.282536 | 2015-02-23 | open | Jonathan Laronne [john@bgu.ac.il]
Harduf tributary water stage | [cm] | absolute pressure transducer | 31.365912, 35.315818 | 2015-02-23 | open | Jonathan Laronne [john@bgu.ac.il]
Wadi Rahaf
Rahaf water stage SE | [cm] | vented pressure transducer | 31.295901, 35.374698 | 2015-01-04 | open | Jonathan Laronne [john@bgu.ac.il]
Rahaf water stage SW | [cm] | vented pressure transducer | 31.295901, 35.374698 | 2015-01-04 | open | Jonathan Laronne [john@bgu.ac.il]
Rahaf water stage NE | [cm] | vented pressure transducer | 31.295901, 35.374698 | 2015-01-04 | open | Jonathan Laronne [john@bgu.ac.il]
Rahaf turbidity | [mg/L] | backscatter turbidometer | 31.295901, 35.374698 | 2015-01-04 | open | Jonathan Laronne [john@bgu.ac.il]
Rahaf water chemistry | [var] | automatic water sampler | 31.295901, 35.374698 | 2015-01-04 | open | Christian Siebert [christian.siebert@ufz.de]
Qanna'im water stage | [cm] | vented pressure transducer | 31.296105, 35.373442 | 2015-01-04 | open | Jonathan Laronne [john@bgu.ac.il]
Rahaf Reservoir water stage | [cm] | vented pressure transducer | 31.293753, 35.385987 | 2015-02-19 | open | Jonathan Laronne [john@bgu.ac.il]
Rahaf tributary baro | [mb] | absolute pressure transducer | 31.274271, 35.329526 | 2015-02-16 | open | Jonathan Laronne [john@bgu.ac.il]
Upper Rahaf tributary water stage | [cm] | absolute pressure transducer | 31.273606, 35.330864 | 2015-02-16 | open | Jonathan Laronne [john@bgu.ac.il]
Kidod tributary water stage | [cm] | absolute pressure transducer | 31.274271, 35.329526 | 2015-02-16 | open | Jonathan Laronne [john@bgu.ac.il]
Amonim tributary water stage | [cm] | absolute pressure transducer | 31.283820, 35.349935 | 2015-02-16 | open | Jonathan Laronne [john@bgu.ac.il]
Wadi Bokek
Upper Bokek water stage | [cm] | absolute pressure transducer | 31.202184, 35.283958 | 2015-10-15 | open | Jonathan Laronne [john@bgu.ac.il]
Bokek waterfall water stage | [cm] | absolute pressure transducer | 31.184274, 35.328567 | 2015-10-15 | open | Jonathan Laronne [john@bgu.ac.il]
Shaat tributary water stage | [cm] | absolute pressure transducer | 31.197569, 35.333026 | 2015-10-18 | open | Jonathan Laronne [john@bgu.ac.il]
Bokek tribuatry baro | [mb] | absolute pressure transducer | 31.171301, 35.334679 | 2015-10-18 | open | Jonathan Laronne [john@bgu.ac.il]
Wadi Harod
Harod Pardesim water stage | [cm] | radar | 32.544208, 35.397268 | 2015-12-22 | open | Jonathan Laronne [john@bgu.ac.il]
Harod Pardesim turbidity | [mg/L] | backscatter turbidometer | 32.544208, 35.397268 | 2015-12-22 | open | Jonathan Laronne [john@bgu.ac.il]
Harod Pardesim chemistry | [var] | automatic water sampler | 32.544208, 35.397268 | 2015-12-22 | open | Christian Siebert [christian.siebert@ufz.de]
Shkedim (Harod) water stage | [cm] | pressure sensor | 32.578816, 35.325892 | 2015-12-22 | open | Jonathan Laronne [john@bgu.ac.il]
Shkedim (Harod) turbidity | [mg/L] | backscatter turbidometer | 32.578816, 35.325892 | 2015-12-22 | open | Jonathan Laronne [john@bgu.ac.il]
Shkedim (Harod) chemistry | [var] | automatic water sampler | 32.578816, 35.325892 | 2015-12-22 | open | Christian Siebert [christian.siebert@ufz.de]
Shunem (Harod) water stage | [cm] | pressure sensor | 32.598636, 35.335683 | 2016-02-16 | open | Jonathan Laronne [john@bgu.ac.il]
Shunem (Harod) turbidity | [mg/L] | backscatter turbidometer | 32.598636, 35.335683 | 2016-02-16 | open | Jonathan Laronne [john@bgu.ac.il]
Shunem (Harod) chemistry | [var] | automatic water sampler | 32.598636, 35.335683 | 2016-02-16 | open | Christian Siebert [christian.siebert@ufz.de]
Wadi Eshtemoa
Wadi Eshtemoa seismics | [db + raw] | seismic sensor (Turowski,GFZ) | 31.315506, 34.970416 | 2015-12-19 | open | Jonathan Laronne [john@bgu.ac.il]
Jordan River and Yarmouk River
Jordan Baptism water stage | [cm] | vented pressure transducer | 31.837152, 35.546515 | 2010-08-20 | open | Jonathan Laronne [john@bgu.ac.il]
Jordan Baptism EC | [mS/cm] | conductivity sensor | 31.837152, 35.546515 | 2010-08-20 | open | Jonathan Laronne [john@bgu.ac.il]
Jordan Baptism chemistry | [var] | automatic water sampler | 31.837152, 35.546515 | 2010-08-20 | open | Christian Siebert [christian.siebert@ufz.de]
Jordan Old Gesher water stage | [cm] | vented pressure transducer | 32.624489, 35.564730 | 2014-10-29 | open | Jonathan Laronne [john@bgu.ac.il]
Jordan Old Gesher EC | [mS/cm] | conductivity sensor | 32.624489, 35.564730 | 2014-10-29 | open | Jonathan Laronne [john@bgu.ac.il]
Jordan Old Gesher temperature | [ °C] | thermometer | 32.624489, 35.564730 | 2014-10-29 | open | Jonathan Laronne [john@bgu.ac.il]
Jordan Old Gesher Oxygen | [%] | oxygen sensor | 32.624489, 35.564730 | 2014-10-29 | open | Jonathan Laronne [john@bgu.ac.il]
Jordan Old Gesher chemistry | [var] | automaticcooled water sampler | 32.624489, 35.564730 | 2014-10-29 | open | Christian Siebert [christian.siebert@ufz.de]
Yarmouk water stage | [cm] | vented pressure transducer | 32.644971, 35.572643 | 2015-11-18 | open | Jonathan Laronne [john@bgu.ac.il]
Yarmouk EC | [mS/cm] | conductivity sensor | 32.644971, 35.572643 | 2015-11-18 | open | Jonathan Laronne [john@bgu.ac.il]
Yarmouk temperature | [ °C] | thermometer | 32.644971, 35.572643 | 2015-11-18 | open | Jonathan Laronne [john@bgu.ac.il]
Yarmouk chemistry | [var] | automatic water sampler | 32.644971, 35.572643 | 2015-11-18 | open | Christian Siebert [christian.siebert@ufz.de]
Jordan Abdullah water stage | [cm] | absolute pressure transducer | 31.801015, 35.546221 | 2015-11-01 | open | Jonathan Laronne [john@bgu.ac.il]
Jordan Abdullah water EC | [mS/cm] | backscatter turbidometer | 31.801015, 35.546221 | 2015-11-02 | open | Jonathan Laronne [john@bgu.ac.il]
Jordan Shifaa water stage | [cm] | absolute pressure transducer | 32.451341, 35.566656 | 2015-11-18 | open | Jonathan Laronne [john@bgu.ac.il]
Jordan Shifaa EC | [mS/cm] | backscatter turbidometer | 32.451341, 35.566656 | 2015-11-18 | open | Jonathan Laronne [john@bgu.ac.il]
Jordan Tovlan water stage | [cm] | absolute pressure transducer | 32.048038, 35.519267 | 2015-11-03 | open | Jonathan Laronne [john@bgu.ac.il]
Jordan Tovlan EC | [mS/cm] | backscatter turbidometer | 32.048038, 35.519267 | 2015-11-03 | open | Jonathan Laronne [john@bgu.ac.il]
Jordan Zarzir water stage | [cm] | absolute pressure transducer | 32.146294, 35.552054 | 2015-11-03 | open | Jonathan Laronne [john@bgu.ac.il]
Jordan Zarzir EC | [mS/cm] | backscatter turbidometer | 32.146294, 35.552054 | 2015-11-03 | open | Jonathan Laronne [john@bgu.ac.il]
Ghor Haditha multiparamter station (GHAJ)
ground velocity | [m/s] | seismometer | 31.30341, 35.56648 | 2011-06-01 | open | Günter Asch [asch@gfz-potsdam.de]
acceleration | [g] | accelerometer | 31.30341, 35.56648 | 2011-06-01 | open | Günter Asch [asch@gfz-potsdam.de]
GPS | [°] | GPS | 31.30341, 35.56648 | 2013-05-25 | open | Markus Ramatschi [markus.ramatschi@gfz-potsdam.de]
MT | [G] | magnetometer | 31.30341, 35.56648 | 2012-02-19 | open | Oliver Ritter [oliver.ritter@gfz-potsdam.de]
Uja multiparamter station (UJAP)
ground velocity | [m/s] | seismometer | 31.95201, 35.46435 | 2012-06-13 | open | Günter Asch [asch@gfz-potsdam.de]
acceleration | [g] | accelerometer | 31.95201, 35.46435 | 2012-06-13 | open | Günter Asch [asch@gfz-potsdam.de]
GPS | [°] | GPS | 31.95201, 35.46435 | 2013-04-05 | open | Markus Ramatschi [markus.ramatschi@gfz-potsdam.de]
Mazada multiparamter station (MSBI)
ground velocity | [m/s] | seismometer | 31.3126, 35.3580 | 2013-06-17 | open | Günter Asch [asch@gfz-potsdam.de]
acceleration | [g] | accelerometer | 31.3126, 35.3580 | 2013-06-17 | open | Günter Asch [asch@gfz-potsdam.de]
Salfit multiparamter station (SALP)
ground velocity | [m/s] | seismometer | 32.0686, 35.1914 | 2015-10-11 | open | Günter Asch [asch@gfz-potsdam.de]
acceleration | [g] | accelerometer | 32.0686, 35.1914 | 2015-10-11 | open | Günter Asch [asch@gfz-potsdam.de]
GPS | [°] | GPS | 32.0686, 35.1914 | 2015-10-11 | open | Markus Ramatschi [markus.ramatschi@gfz-potsdam.de]
Omni-directional camera surveys
panoramic images Madaba, geocoded, 76,972 images |  | GFZ MoMa | 31.7146, 35.7916 | 2015-08-16 | 2015-08-17 | Michael Haas [mhaas@gfz-potsdam.de]
panoramic images Kerak, geocoded, 42,061 images |  | GFZ MoMa | 31.1729, 35.7184 | 2015-08-18 | 2015-08-18 | Michael Haas [mhaas@gfz-potsdam.de]
Panoramic Complex seismic stations
ground velocity (counts) | [nms-1] | seismometer | 31.65002, 35.58100 | 22.02.14 09.12.14 | 30.11.14 12.02.15 | Friederike Lott [friederike.lott@kit.edu]
ground velocity (counts) | [nms-1] | seismometer | 31.65068, 35.58132 | 2014-02-25 | 2015-02-12 | Friederike Lott [friederike.lott@kit.edu]
ground velocity (counts) | [nms-1] | seismometer | 31.65055, 35.58033 | 2014-02-25 | 2015-02-11 | Friederike Lott [friederike.lott@kit.edu]
ground velocity (counts) | [nms-1] | seismometer | 31.64960, 35.58038 | 2014-02-27 | 2015-02-11 | Friederike Lott [friederike.lott@kit.edu]
ground velocity (counts) | [nms-1] | seismometer | 31.64904, 35.58124 | 2014-02-27 | 2015-02-11 | Friederike Lott [friederike.lott@kit.edu]
ground velocity (counts) | [nms-1] | seismometer | 31.65001, 35.58192 | 2014-02-27 | 2015-01-05 | Friederike Lott [friederike.lott@kit.edu]
ground velocity (counts) | [nms-1] | seismometer | 31.65307, 35.58100 | 2014-02-22 | 2015-02-12 | Friederike Lott [friederike.lott@kit.edu]
ground velocity (counts) | [nms-1] | seismometer | 31.65066, 35.57826 | 24.02.14 31.10.14 | 18.10.14 11.02.15 | Friederike Lott [friederike.lott@kit.edu]
ground velocity (counts) | [nms-1] | seismometer | 31.64807, 35.57920 | 24.02.14 08.08.14 | 20.06.14 11.02.15 | Friederike Lott [friederike.lott@kit.edu]
ground velocity (counts) | [nms-1] | seismometer | 31.64796, 35.58222 | 2014-02-24 | 2015-01-05 | Friederike Lott [friederike.lott@kit.edu]
ground velocity (counts) | [nms-1] | seismometer | 31.65041, 35.58291 | 2014-02-24 | 2015-01-30 | Friederike Lott [friederike.lott@kit.edu]
ground velocity (counts) | [nms-1] | seismometer | 31.65158, 35.58886 | 2014-02-26 | 2015-02-12 | Friederike Lott [friederike.lott@kit.edu]
ground velocity (counts) | [nms-1] | seismometer | 31.65673, 35.57734 | 2014-02-26 | 2015-02-11 | Friederike Lott [friederike.lott@kit.edu]
ground velocity (counts) | [nms-1] | seismometer | 31.64270, 35.57505 | 2014-02-26 | 2015-01-05 | Friederike Lott [friederike.lott@kit.edu]
ground velocity (counts) | [nms-1] | seismometer | 31.63120, 35.58603 | 2014-02-23 | 2015-02-17 | Friederike Lott [friederike.lott@kit.edu]
Ghor Haditha: shear wave reflection seismic profiling
traveltime of seismic waves (active seismics) | [s] | ELVIS SH microvibrator, SH-geophones, GEODES | 741180.84/3466761.19 - 740973.55/3466382.74 |  | Profile 1 | Ulrich Polom [ulrich.polom@liag-hannover.de]
traveltime of seismic waves (active seismics) | [s] | ELVIS SH microvibrator, SH-geophones, GEODES | 740836.96/3466218.78 - 740404.48/3466460.61 |  | Profile 2 | Ulrich Polom [ulrich.polom@liag-hannover.de]
traveltime of seismic waves (active seismics) | [s] | ELVIS SH microvibrator, SH-geophones, GEODES | 740969.61/3466379.62 - 740624.72/3466581.25 |  | Profile 3 | Ulrich Polom [ulrich.polom@liag-hannover.de]
traveltime of seismic waves (active seismics) | [s] | ELVIS SH microvibrator, SH-geophones, GEODES | 740636.28/3465860.90 - 740122.03/3466153.18 |  | Profile 4 | Ulrich Polom [ulrich.polom@liag-hannover.de]
traveltime of seismic waves (active seismics) | [s] | ELVIS SH microvibrator, SH-geophones, GEODES | 741080.25/3466574.82 - 740670.93/3465841.39 |  | Profile 1b | Ulrich Polom [ulrich.polom@liag-hannover.de]
traveltime of seismic waves (active seismics) | [s] | ELVIS SH microvibrator, SH-geophones, GEODES | 740858.42/3466212.62 - 740594.55/3466361.54 |  | Profile 2b | Ulrich Polom [ulrich.polom@liag-hannover.de]
traveltime of seismic waves (active seismics) | [s] | ELVIS SH microvibrator, SH-geophones, GEODES | 740855.84/3466210.49 - 741136.42/3466054.57 |  | Profile 2b-2 | Ulrich Polom [ulrich.polom@liag-hannover.de]
traveltime of seismic waves (active seismics) | [s] | ELVIS SH microvibrator, SH-geophones, GEODES | 740960.15/3466391.70 - 740807.95/3466478.04 |  | Profile 3b | Ulrich Polom [ulrich.polom@liag-hannover.de]
traveltime of seismic waves (active seismics) | [s] | ELVIS SH microvibrator, SH-geophones, GEODES | 740974.52/3466383.73 - 741183.03/3466266.93 |  | Profile 3b-2 | Ulrich Polom [ulrich.polom@liag-hannover.de]
traveltime of seismic waves (active seismics) | [s] | ELVIS SH microvibrator, SH-geophones, GEODES | 741046.65/3466362.12 - 741103.07/3466480.35 |  | Profile 5 | Ulrich Polom [ulrich.polom@liag-hannover.de]
Ghor Haditha: Ground penetrating radar profiling
traveltime of electromagnetic waves | [s] | Ramac CU-II with unshielded antenna 50Mhz | 31.308419, 35.530551 (center) | Oct 14 | GPR 3D area | Djamil Al-Halbouni [halbouni@gfz-potsdam.de] Hussam Alrshdan [hussam.rshdan@memr.gov.jo]
traveltime of electromagnetic waves | [s] | Ramac CU-II with unshielded antenna 50 Mhz | 31.308285, 35.533642 - 31.306695, 35.532704 | Oct 14 | Profile 1 | Djamil Al-Halbouni [halbouni@gfz-potsdam.de] Hussam Alrshdan [hussam.rshdan@memr.gov.jo]
traveltime of electromagnetic waves | [s] | Ramac CU-II with unshielded antenna 50 Mhz | 31.306184, 35.531353 - 31.307567, 35.528532 | Oct 14 | Profile 2 | Djamil Al-Halbouni [halbouni@gfz-potsdam.de] Hussam Alrshdan [hussam.rshdan@memr.gov.jo]
traveltime of electromagnetic waves | [s] | Ramac CU-II with unshielded antenna 50 Mhz | 31.305394, 35.530696 - 31.306764,35.528015 | Oct 14 | Profile 3 | Djamil Al-Halbouni [halbouni@gfz-potsdam.de] Hussam Alrshdan [hussam.rshdan@memr.gov.jo]
traveltime of electromagnetic waves | [s] | Ramac CU-II with unshielded antenna 50 Mhz | 31.306069,35.532282 - 31.306597,35.532575 | Oct 14 | Profile 4 | Djamil Al-Halbouni [halbouni@gfz-potsdam.de] Hussam Alrshdan [hussam.rshdan@memr.gov.jo]
traveltime of electromagnetic waves | [s] | Ramac CU-II with unshielded antenna 50 Mhz | 31.306072, 35.533594 - 31.304371, 35.532657 | Oct 14 | Profile 5 | Djamil Al-Halbouni [halbouni@gfz-potsdam.de] Hussam Alrshdan [hussam.rshdan@memr.gov.jo]
traveltime of electromagnetic waves | [s] | Ramac CU-II with unshielded antenna 100 Mhz | 31.308219, 35.531731 - 31.309127, 35.530778 | Oct 14 | Profile 6 | Djamil Al-Halbouni [halbouni@gfz-potsdam.de] Hussam Alrshdan [hussam.rshdan@memr.gov.jo]
traveltime of electromagnetic waves | [s] | Ramac CU-II with unshielded antenna 100 Mhz | 31.309127,35.530778 - 31.309759, 35.531162 | Oct 14 | Profile 7 | Djamil Al-Halbouni [halbouni@gfz-potsdam.de] Hussam Alrshdan [hussam.rshdan@memr.gov.jo]
traveltime of electromagnetic waves | [s] | Ramac CU-II with unshielded antenna 100 Mhz | 31.309759, 35.531162 - 31.309127,35.530778 | Oct 14 | Profile 8 (invers to 7) | Djamil Al-Halbouni [halbouni@gfz-potsdam.de] Hussam Alrshdan [hussam.rshdan@memr.gov.jo]
GPR attenuation measurements on 3 soil samples of alluvial sediments | [db] | Laboratory LIAG Hannover | 31.307884, 35.531645 | 2015-10-29 | near GPR 3D area | Djamil Al-Halbouni [halbouni@gfz-potsdam.de] Jan Igel [Jan.Igel@liag-hannover.de]
Ghor Haditha: Photogrammetry - Digital surface model
images (RGB + intensity) and GPS coordinates plus derived DSM | images + [m] | Helikite Balloon + DGPS Trimble Pathfinder Pro XRT | 31.304781, 35.531365 (S) - 31.322990, 35.529656 (N) | Oct 14 | Approx. Extension S-area | Djamil Al-Halbouni [halbouni@gfz-potsdam.de] Eoghan Holohan [holohan@gfz-potsdam.de]
images (RGB + intensity) and GPS coordinates plus derived DSM | images + [m] | Helikite Balloon + Phantom 2 Quadrocopter + DGPS Trimble Pathfinder Pro XRT | 31.304781, 35.531365 (S) - 31.354789, 35.547375 (N) | Oct 15 | Approx. Extension S + N area | Djamil Al-Halbouni [halbouni@gfz-potsdam.de] Eoghan Holohan [holohan@gfz-potsdam.de]
Ghor Haditha: DGPS Basestation Fieldcamp NRA
elevation and coordinates of basestation marking (nail in roof of GH NRA fieldcamp) | [m] | DGPR (Trimble pathfinder Pro XRT) | 31.289352,35.535842 | 2014-10-17 |  | Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
elevation and coordinates of basestation marking (nail in roof of GH NRA fieldcamp) | [m] | DGPR (Trimble pathfinder Pro XRT) | 31.289351,35.535839 | 2015-10-18 |  | Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
Ghor Haditha: DGPS Waterlevel measurements
elevation of waterlevel at DS shoreline GH | [m] | DGPR (Trimble pathfinder Pro XRT) | 31.32252750,35.52938556 | 2014-10-17 |  | Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
elevation of waterlevel at DS shoreline GH | [m] | DGPR (Trimble pathfinder Pro XRT) | 31.32445839,35.52980618 | 2015-10-19 |  | Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
Ghor Haditha: Electrical Conductivity, Temperature and Water Level Measurements in situ, Water Samples
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.314494, 35.530829 | 2015-10-19 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.296401, 35.542409 | 2015-10-20 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.285509, 35.534867 | 2015-10-20 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.322605, 35.539981 | 2015-10-21 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.323514, 35.539871 | 2015-10-21 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.325865, 35.530878 | 2015-10-21 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.315712, 35.532833 | 2015-10-21 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.315127, 35.533503 | 2015-10-21 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.325476, 35.540944 | 2015-10-22 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.324934, 35.540498 | 2015-10-22 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.326653, 35.540082 | 2015-10-22 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.327422, 35.540142 | 2015-10-22 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.328329, 35.539994 | 2015-10-22 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.330422, 35.537334 | 2015-10-22 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.332571, 35.550424 | 2015-10-24 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.334238, 35.542859 | 2015-10-24 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.334238, 35.542859 | 2015-10-24 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.333895, 35.542689 | 2015-10-24 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.333285, 35.542187 | 2015-10-24 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.339048, 35.546243 | 2015-10-24 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.338961, 35.545707 | 2015-10-24 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.339097, 35.544539 | 2015-10-24 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.340303, 35.544436 | 2015-10-24 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.340404, 35.544466 | 2015-10-24 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.341266, 35.545387 | 2015-10-25 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.341801, 35.546050 | 2015-10-25 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.342651, 35.544667 | 2015-10-25 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.343674, 35.544570 | 2015-10-25 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.344120, 35.544200 | 2015-10-25 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.346889, 35.544166 | 2015-10-25 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.289351, 35.535839 | 2015-10-26 | Rainwater fieldcamp | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.312330, 35.526185 | 2015-10-26 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.314838, 35.528462 | 2015-10-26 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.354485, 35.546169 | 2015-10-27 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.349480, 35.545775 | 2015-10-27 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.315087, 35.530935 | 2015-10-28 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.315067, 35.531855 | 2015-10-28 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.340222, 35.541417 | 2015-10-28 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.315174, 35.532545 | 2015-10-29 |  | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
In situ measurements of: Electric Conductivity, Temperature and Water level - Samples with laboratory measurements | [mS/cm] [°C] [m] | Hach HQd Multi-meter, Water level meter | 31.289351, 35.535839 | 2015-10-29 | Rainwater fieldcamp | Eoghan Holohan [holohan@gfz-potsdam.de] Leila Saberi [Saberi@gfz-potsdam.de] Christian Siebert [Christian.Siebert@ufz.de] Heiko Woith [Heiko.Woith@gfz-potsdam.de] Djamil Al-Halbouni [halbouni@gfz-potsdam.de]
Mineral Beach/Dragot/EinGedi/Hever: Photogrammetry - Digital surface model / Thermal data
RGB Mosaic plus derived DSM | images + [m] | Octocopter GeoX-8000 (Sony Alpha Nec-7 RGB camera) | 31.547, 35.398 | 2014-11-25 | Approx. Centre point | Ulf Mallast [ulf.mallast@ufz.de] Christian Siebert [christian.siebert@ufz.de]
RGB Mosaic plus derived DSM | images + [m] | Octocopter GeoX-8000 (Sony Alpha Nec-7 RGB camera) | 31.575, 35.416 | 2014-11-24 | Approx. Centre point | Ulf Mallast [ulf.mallast@ufz.de] Christian Siebert [christian.siebert@ufz.de]
Thermal Mosaic | images + [m] | Octocopter GeoX-8000 (Flir Tau2 thermal camera) | 31.575, 35.416 | 2014-11-22 | Approx. Centre point | Ulf Mallast [ulf.mallast@ufz.de] Christian Siebert [christian.siebert@ufz.de]
Thermal Mosaic | images + [m] | Octocopter GeoX-8000 (Flir Tau2 thermal camera) | 31.575, 35.416 | 2015-12-07 | Approx. Centre point | Ulf Mallast [ulf.mallast@ufz.de] Christian Siebert [christian.siebert@ufz.de]
RGB Mosaic plus derived DSM | images + [m] | Octocopter GeoX-8000 (Sony Alpha Nec-7 RGB camera) | 31.575, 35.416 | 2014-11-24 | Approx. Centre point | Ulf Mallast [ulf.mallast@ufz.de] Christian Siebert [christian.siebert@ufz.de]
RGB Mosaic plus derived DSM | images + [m] | Octocopter GeoX-8000 (Sony Alpha Nec-7 RGB camera) | 31.575, 35.416 | 2014-12-07 | Approx. Centre point | Ulf Mallast [ulf.mallast@ufz.de] Christian Siebert [christian.siebert@ufz.de]
Thermal Mosaic | images + [m] | Octocopter GeoX-8000 (Flir Tau2 thermal camera) | 31.581, 35.412 | 2015-12-07 | Approx. Centre point | Ulf Mallast [ulf.mallast@ufz.de] Christian Siebert [christian.siebert@ufz.de]
RGB Mosaic plus derived DSM | images + [m] | Octocopter GeoX-8000 (Sony Alpha Nec-7 RGB camera) | 31.581, 35.412 | 2015-12-07 | Approx. Centre point | Ulf Mallast [ulf.mallast@ufz.de] Christian Siebert [christian.siebert@ufz.de]
RGB Mosaic plus derived DSM | images + [m] | Octocopter GeoX-8000 (Sony Alpha Nec-7 RGB camera) | 31.459, 35.396 | 2015-12-10 | Approx. Centre point | Ulf Mallast [ulf.mallast@ufz.de] Christian Siebert [christian.siebert@ufz.de]
RGB Mosaic plus derived DSM | images + [m] | Octocopter GeoX-8000 (Sony Alpha Nec-7 RGB camera) | 31.410, 35.387 | 2016-01-28 | Approx. Centre point | Ulf Mallast [ulf.mallast@ufz.de] Christian Siebert [christian.siebert@ufz.de]
RGB Mosaic plus derived DSM | images + [m] | Octocopter GeoX-8000 (Sony Alpha Nec-7 RGB camera) | 31.410, 35.387 | 2016-02-01 | Approx. Centre point | Ulf Mallast [ulf.mallast@ufz.de] Christian Siebert [christian.siebert@ufz.de]
RGB Mosaic plus derived DSM | images + [m] | Octocopter GeoX-8000 (Sony Alpha Nec-7 RGB camera) | 31.410, 35.387 | 2016-02-08 | Approx. Centre point | Ulf Mallast [ulf.mallast@ufz.de] Christian Siebert [christian.siebert@ufz.de]
Thermal Mosaic | images + [m] | Octocopter GeoX-8000 (Flir Tau2 thermal camera) | 31.581, 35.412 | 2016-02-10 | Approx. Centre point | Ulf Mallast [ulf.mallast@ufz.de] Christian Siebert [christian.siebert@ufz.de]
RGB Mosaic plus derived DSM | images + [m] | Octocopter GeoX-8000 (Sony Alpha Nec-7 RGB camera) | 31.581, 35.412 | 2016-02-10 | Approx. Centre point | Ulf Mallast [ulf.mallast@ufz.de] Christian Siebert [christian.siebert@ufz.de]
Thermal Mosaic | images + [m] | Octocopter GeoX-8000 (Flir Tau2 thermal camera) | 31.459, 35.396 | 2016-02-10 | Approx. Centre point | Ulf Mallast [ulf.mallast@ufz.de] Christian Siebert [christian.siebert@ufz.de]
RGB Mosaic plus derived DSM | images + [m] | Octocopter GeoX-8000 (Sony Alpha Nec-7 RGB camera) | 31.459, 35.396 | 2016-02-10 | Approx. Centre point | Ulf Mallast [ulf.mallast@ufz.de] Christian Siebert [christian.siebert@ufz.de]
Dragot: Bathymetry
bathymetry | images + [m] | Sonobot (EvoLogics) - Echosounding + SideScanSonar | 31.459, 35.396 | 2016-02-10 | Approx. Centre point | Christian Siebert [christian.siebert@ufz.de]
bathymetry | images + [m] | Sonobot (EvoLogics) - Echosounding + SideScanSonar | 31.581, 35.412 | 2016-02-10 | Approx. Centre point | Christian Siebert [christian.siebert@ufz.de]
bathymetry | images + [m] | Sonobot (EvoLogics) - Echosounding + SideScanSonar | 31.459, 35.396 | 2015-12-10 | Approx. Centre point | Christian Siebert [christian.siebert@ufz.de]
bathymetry | images + [m] | Sonobot (EvoLogics) - Echosounding + SideScanSonar | 31.581, 35.412 | 2015-02-10 | Approx. Centre point | Christian Siebert [christian.siebert@ufz.de]
Note on A282: historic data also available for stage and EC
Note on A301: historic data also available for stage and EC